Cold Chain Excursion Handling Procedure

| Field | Value |
| --- | --- |
| Document ID | SOP-QC-204 |
| Version | 3.2 |
| Owner | Quality Control |
| Status | Approved |
| Approval date | 20 August 2026 |
| Effective date | 01 September 2026 |
| Next review | 20 August 2027 |

# 1. Purpose

This procedure defines how temperature excursions affecting refrigerated medicinal-product samples are identified, contained, assessed and closed.

# 2. Scope

Applies to samples and reference materials stored between 2 °C and 8 °C at the Bengaluru quality-control laboratory.

# 3. Responsibilities

- The Laboratory Analyst quarantines affected material and records the excursion.

- The QC Manager evaluates product impact and assigns corrective actions.

- Quality Assurance reviews the investigation and approves final disposition.

# 4. Procedure

| Step | Required action | Owner |
| --- | --- | --- |
| 1 | Acknowledge the alarm and record start time, highest temperature and affected units. | Laboratory Analyst |
| 2 | Move affected units to qualified backup storage and apply QUARANTINE labels. | Laboratory Analyst |
| 3 | Open a deviation record within one business day and attach the logger export. | QC Manager |
| 4 | Assess duration, stability limits, previous excursions and patient or product impact. | QC Manager |
| 5 | Document disposition and obtain Quality Assurance approval before release or destruction. | Quality Assurance |

# 5. Failure recovery and escalation

If backup storage is unavailable, contact the 24-hour Facilities desk and transfer material to the validated alternate laboratory refrigerator. Escalate excursions above 12 °C, excursions longer than two hours, or loss of logger data immediately to Quality Assurance and the Site Quality Head.

# 6. Records

Retain the alarm record, logger export, deviation, impact assessment, disposition and approvals for ten years in the controlled quality repository.

# 7. Change history

| Version | Date | Reason | Approved by |
| --- | --- | --- | --- |
| 3.2 | 20 Aug 2026 | Added alternate-storage escalation and clarified retention. | A. Nair, Quality Assurance |

# 8. Approval

Approved electronically by A. Nair, Quality Assurance, and M. Sorensen, QC Laboratory Manager, on 20 August 2026.